NOTES TO BE ADDED TO PLANS

- Label all window and door sizes;

- Label all windows, doors, and shower glass that is to be tempered;

- Label the egress door required in each dwelling;

- On each plan sheet containing wall layouts, include a note that all chases are required to have a minimum ½ inch material installed on top the chase;

- If your design has an elevator, include a note either on your detail or on each page enumerating the elevator. “That shaft walls are required to have a minimum 1-hour rating”;

- If your design has a bar/drink station, include a note “Receptacle spacing to be same as kitchen”;

- Each plan design must also include the total square footage of each story including any storage, unfinished or mechanical area.

NOTE TO THE PERMIT HOLDER

- Any permit being issued for dwelling over 5,000 square feet. The permit holder will be required to provide the electrical service size, quantity, and tonnage of each mechanical HVAC unit being installed. This information is to be provided on the permit application.

- Any permit being issued for a dwelling of any size. The permit holder will be required to provide the method of insulation being installed and the location of each method. This information is to be provided on the permit application.

- Certificate of Occupancy issued for dwellings. A Certificate of Occupancy cannot be issued without a Notice of Termination, Final Septic Approval, and a copy of the Engineered Floor Plans on file. (If applicable)

DISCLAIMER

- The issuance or granting of a permit shall not be construed to be a permit for, or an approval of, any violation of any of the provisions of the code or of any other ordinance of this jurisdiction. Permits presuming to give authority to violate or cancel any of the provisions of the code or other ordinances shall not be valid. The issuance of a permit based on construction documents and other data shall not prevent the building official from requiring the correction of errors in the construction documents and other data. The building official is authorized to prevent occupancy or use of a structure where in violation of the code or of any ordinance.